- Legal acts to be observed in the course of project implementation on the premises of ArcelorMittal Poland S.A.

Building Law:

- The Act of 7 July 1994 - Building Law (Journal of Laws of 2017, item 1332).

- The Act of 18 July 2001 - Water Law (Journal of Laws of 2017, item 1121).

- The Act of 10 April 1997 - Energy Law (Journal of Laws of 2017, item 220).

- Regulation of the Minister of Transport, Construction and Maritime Management of 25 April 2012 on detailed scope and form of a construction design (Journal of Laws of 2012, Item 462).

- Regulation of the Minister of Infrastructure of 2 September 2004 on detailed scope and form of design documentation, technical specifications for performance and acceptance of civil works and the functional utility programme (Journal of Laws of 2013, Item 1129).

- Regulation of the Minister of Infrastructure and Construction of 24 August 2016 on template application for a building permit or demolition permit, notification of construction and reconstruction of a single-family residential building, statement of the right to dispose of real estate for construction purposes and decision of a building or demolition permit (Journal of Laws of 2016, Item 1493).

- Regulation of the Minister of Transport, Construction and Maritime Management of 25 April 2012 on establishing geotechnical conditions for positioning building structures (Journal of Laws of 2012, Item 463).

- Regulation of the Minister of Infrastructure of 30 August 2004 on the conditions and procedure related to dismantling of unoccupied or unfinished building facilities (Journal of Laws of 2004 No 198 Item 2043).

- Regulation of the Minister of Infrastructure and Development of 16 October 2015 amending the regulation on construction logbook, assembly and demolition, the information board and notice including occupational safety and health details (Journal of Laws of 2015, Item 1775).

- Regulation of the Minister of Infrastructure of 19 November 2001 on types of building facilities whose construction requires appointment of an owner’s representative (Journal of Laws of 2001 No 138 Item 1554).

Spatial planning regulations (depending on the location):

- The Act of 27 March 2003 on Spatial Planning and Management (Journal of Laws of 2017 Item 1073).

- Regulation of the Minister of Infrastructure of 26 August 2003 on the required scope of the project of the local plan of spatial development (Journal of Laws of 2003 No 164 Item 1587).

- Regulation of the Minister of Infrastructure of 26 August 2003 on the method of determining the requirements of new construction and land development (Journal of Laws of 2003 No 164 Item 1588).

- Regulation of the Minister of Infrastructure of 26 August 2003 on the signs and terminology used in a decision on location conditions of a public investment project and decision on conditions of land development (Journal of Laws of 2003 No 164 Item 1589).

Geodetic requirements:

- Geodetic and Cartographic Law of 17 May 1989 (Journal of Laws of 2016, Item 1629).

- Regulation of the Minister of Spatial Development and Construction of 21 February 1995 on the type and scope of geodetic and cartographic documents and geodetic acts mandatory in the construction sector (Journal of Laws of 1995 No 25 Item 133).

Building products:

- The Act of 16 April 2004 on construction products (Journal of Laws of 2016, item 1570).

- Regulation of the Minister of Infrastructure and Construction of 17 November 2016 on national technical assessment (Journal of Laws of 2016 Item 1968).

Technical and construction regulations and conditions

- Regulation of the Minister of Infrastructure of 12 April 2002 on technical conditions to be satisfied by buildings and their location (Journal of Laws of 2015 Item 1422).

- Regulation of the Minister of Economy of 26 April 2013 on technical conditions to be satisfied by gas networks and their location (Journal of Laws of 2013 Item 640).

- Regulation of the Minister of Transport and Maritime Management of 10 September 1998 on technical conditions to be satisfied by railway structures and their location (Journal of Laws of 1998 No 151 Item 987).

- Regulation of the Minister of Infrastructure of 25 June 2003 on the method of notifying and marking air obstacles (Journal of Laws of 2003 No 130 Item 1193).

- Regulation of the Minister of Transport and Maritime Management of 2 March 1999 on technical conditions to be satisfied by public roads and their location (Journal of Laws of 2016, Item 124).

- Regulation of the Minister of Economy of 21 October 2008 on essential requirements for machines (Journal of Laws of 2008 No 199 Item 1228).

Major directives:

- Directive 2006/42/EC of the European Parliament and of the Council of 17 May 2006 on machines.

- Directive 2014/35/EU of the European Parliament and of the Council of 26 February 2014 on the harmonisation of the laws of the Member States relating to the making available on the market of electrical equipment designed for use within certain voltage limits.

Equipment and facilities subject to technical supervision

- Regulation of the Council of Ministers of 7 December 2012 on types of technical facilities subject to technical supervision (Journal of Laws of 2012 Item 1468)

- Regulation of the Minister of Economy, Labour and Social Policy of 9 July 2003 on technical conditions of technical supervision in respect of operation of certain pressure equipment (Journal of Laws of 2003 No 135 Item 1269).

- Regulation of the Minister of Economy, Labour and Social Policy of 29 October 2003 on technical conditions of technical supervision in respect of operation of certain handling equipment (Journal of Laws of 2003 No 193 Item 1890).

Regulations on harmonised standards:

- The Act of 12 September 2002 about standardisation (Journal of Laws of 2015 Item 1483).

- Announcement of the Chairman of the Polish Committee for Standardisation of 30 July 2012 on the list of harmonised standards M.P.2012.612

- Regulation of the Council of Ministers of 23 December 2002 on the manner of operation of the national system of notification of standards and legal acts. (Journal of Laws of 2002 No 239 Item 2039).

Occupational health and safety:

- Regulation of the Minister of Labour and Social Policy of 26 September 1997 concerning the general occupational safety and health provisions (Journal of Laws of 2003 No 169 Item 1650).

- Regulation of the Minister of Infrastructure of 23 June 2003 on information related to health and safety, and health and safety plan (Journal of Laws of 2003, No 120, Item 1126).

- Regulation of the Minister of Infrastructure of 6 February 2003 concerning occupational safety and health during construction works (Journal of Laws of 2003 No 47 Item 401).

- Regulation of the Minister of Economy of 20 September 2001 concerning occupational safety and health during operation of machines and other technical equipment for ground, construction and road works (Journal of Laws of 2001 No 118 Item 1263).

- Regulation of the Minister of Economy of 28 March 2013 concerning occupational safety and health during work with power equipment (Journal of Laws of 2013 Item 492).

- Regulation of the Minister of Economy of 8 July 2010 on minimum requirements for occupational safety and health related to the possibility of occurrence of explosive atmosphere at the workplace (Journal of Laws of 2010 No 138 Item 931).

- Regulation of the Minister of Economy of 14 July 2010 on occupational safety and health in the iron and steel industry (Journal of Laws of 2010 No 142 Item 951).

Fire protection

- The Fire Protection Act of 24 August 1991 (Journal of Laws of 2017 Item 736)

- Regulation of the Minister of Internal Affairs and Administration of 2 December 2015 on approval of a construction design in terms of fire safety (Journal of Laws of 2015 Item 2117)

- Regulation of the Minister of Internal Affairs and Administration of 7 June 2010 on fire safety of buildings, other construction facilities and premises (Journal of Laws of 2010 No 109, Item 719).

- Regulation of the Minister of Internal Affairs and Administration of 24 July 2009 on fire fighting water supply and fire roads (Journal of Laws of 2009 No 124 Item 1030).

Sanitary regulations

- The Act of 14 March 1985 on State Sanitary Inspection (Journal of Laws of 2017 Item 1261).

- Regulation of the Minister of Health of 29 November 2002 on experts of sanitation and hygiene (Journal of Laws of 2002 No 210 Item 1792).

Environmental protection

- The Act of 27 April 2001 - Environmental Law (Journal of Laws of 2017, item 519)

- The Act of 3 October 2008 on the provision of information on the environment and its protection, public participation in environmental protection and environmental impact assessments (Journal of Laws of 2017 Item 1405).

- The Act of 14 December 2012 on waste (Journal of Laws of 2016 Item 1987).

- Regulation of the Council of Ministers of 9 November 2010 on projects which may materially impact the environment (Journal of Laws of 2016 Item 71)

- Regulation of the Minister of Environment of 14 June 2007 on permissible level of noise in the environment (Journal of Laws of 2014, item 112)

- Regulation of the Minister of Environment of 2 July 2010 on situations where no permit is required to discharge gases or dusts to the atmosphere (Journal of Laws of 2010 No 130 Item 881).

Management systems and standards

- Occupational Health and Safety Management System BS OHSAS 18001:2007 / PN-N-18001:2004.

- Environmental Management System EN ISO 14001: 2015

- Energy Management System EN ISO 50001: 2011

- Quality Management System ISO 9001: 2015

- Quality management standard for the automotive industry IATF 16949: 2016

Other

- The Personal Data Protection Act of 29 August 1997 (Journal of Laws of 2016 Item 922).

- The Act of 13 April 2016 on conformity assessment systems and market supervision (Journal of Laws of 2017, item 1398).

- The Act of 4 February 1994 on copyright and related rights (Journal of Laws of 2017 Item 880).

International technical standards:

CEN	European Committee for Standardization;

CENELEC	European Committee for Electrotechnical Standardization;

DIN		Deutsche Industrie Normen;

EN		European Standard;

ETSI	European Telecommunications Standards Institute;

ISO		International Organization for Standarization;

PN		Polish Norms;

Should discrepancies occur between PN standards and the above mentioned ones, the stricter standards shall apply.

The bidder is required to familiarise with the standards of ArcelorMittal Poland S.A. in respect OHS rules and performance standards which shall be observed by the contractor at all times.